FRAMED STRUCTURE :

- RCC framed structure to withstand wind and seismic loads.

SUPER STRUCTURE :

- Block Masonry: 6” thick Solid Block Masonry for External Walls and 4” thick Solid Block Masonry for Internal Walls.

- Plastering: Internal and External Two coats of plastering in CM (1:6) and CM (1:4) respectively.

DOORS & WINDOWS :

- Main Door  : 8 Feet Factory Moulded Engineered Wood door frame, flush door shutter with laminated finish on both sides with smart lock of reputed make.

-  Internal & Toilets  : Factory Moulded Engineered Wood door frame and flush door shutter with laminated finish on both sides with hardware of reputed make.

- French Doors	: UPVC door frame with Sliding glass shutters and mosquito mesh.

- Windows: UPVC windows with Sliding glass shutters and mosquito mesh.

- Ventilator: UPVC / Aluminium Ventilators with provision for exhaust fan.

PAINTING :

- External : Textured finish with Exterior Emulsion Paint.

- Internal : Smooth putty finish with Premium acrylic emulsion paint.

FLOORING :

- All Bedrooms, Living,Dining & Kitchen : 600mm x 1200mm Vitrified Tiles

- Utility	 : 300mm x 300mm Anti-skid Ceramic Tiles

- Balconies, Bathroom area : 600mm x 600mm Anti-skid Ceramic Tiles

- Corridor		 :  Vitrified / Ceramic tile flooring

- Staircases		 : Polished Kota / Tandoor Stone / Granite

TILES CLADDING & DADOING :

- Bathrooms : 600mm x 1200mm Ceramic tiles dado of reputed make up to door height.

- Utility / Wash : 600mm x 300mm Ceramic tiles dado of reputed make up to 3ft height.

BATHROOMS :

All Bathrooms shall consist of :

- Wash basin with half pedestal of Jaguar or equivalent make.

- EWC with concealed Flush tank / Flush valve of Jaguar or equivalent make.

- Hot and Cold concealed single lever diverter with head shower.

- Provision for geyser in all bathrooms.

- All C.P fittings are chrome plated Jaguar or equivalent make.

ELECTRICALS :

- Concealed copper wiring of Polycab / Anchor or equivalent make.

- Power outlets for Air-Conditioners in all bedrooms.

- Power outlets for geysers in all bathrooms.

- Power outlets for chimney, refrigerator, microwave oven, mixer grinder and Water purifier in kitchen.

- Provision for television in Drawing / Living and Master bedroom.

- Miniature Circuit Breakers (MCB) & ELCB for each distribution boards of branded make.

- Elegant designer modular electrical switches of Anchor or equivalent make.

TELE COMM. & INTERNET :

- DTH / Cable TV : Provision for cable connection in Master Bedroom and Drawing / Living room.

- Internet point : Drawing / Living room.

SECURITY :

- CCTV surveillance at project entry, exit and driveways and GF lift lobby for each block.

ELEVATORS:

- Branded automatic elevator with Granite / Vitrified cladding.

GENERATOR :

- 100% power backup for common areas and flats.